Trade of Electrician

Standards Based Apprenticeship

Resistance Network Measurement

Phase 2

Module No. 2.1

Unit No. 2.1.5

COURSE NOTES

Created by Gerry Ryan - Galway TC

Revision 1. April 2000 by

Gerry Ryan - Galway TC

John Watters - Sligo TC

Revision 2. Nov. 2002 by

Gerry Ryan - Galway TC

Chris Ludlow – Dundalk TC

Revision 3. May 2006 by

Chris Ludlow – Dundalk TC

Revision 4. Feb 2008 by

Chris Ludlow – Dundalk TC

Revision 5, November 2013

SOLAS

Published by

27-33 Upper Baggot Street

Dublin 4

Ireland

© SOLAS - 2013

All rights reserved. No part of this publication may be reproduced, stored in a retrieval system or

transmitted in any form or by any means, electronic, mechanical, photocopying, recording or

otherwise, without the prior permission of the copyright owner

.

Table of Contents

Introduction	4

Electrical Circuits	5

The Series Circuit	5

Series Circuit Calculations	8

The Parallel Circuit	15

Parallel Circuit Calculations	16

Kirchoff’s Laws	30

The Series - Parallel Circuit	32

Series - Parallel Circuit Layouts	35

The Loading Effect of a Voltmeter	43

Cells and Batteries	48

Resistance of Cable Conductors	54

# Introduction

Welcome to this section of your course which is designed to assist you the learner, understand more practical electrical circuits and complete important circuit calculations.

## Objectives

By the end of this unit you will be able to:

- Connect resistors in series

- Calculate total resistance of resistors in series

- Connect resistors in parallel

- Calculate total resistance of resistors in parallel

- Connect resistors in series-parallel

- Calculate total resistance of resistors in series-parallel

- Understand the loading effect of an analogue voltmeter

- Connect cells in series and calculate output voltage

- Connect cells in parallel and calculate output voltage

- Measure output voltage of a battery

- Understand internal resistance of cells

- Understand resistivity

- Calculate conductor resistance

- Understand, temperature coefficient of resistance

## Reasons

Understanding the information in this unit will give you the confidence to build and solve problems on practical electrical circuits.

# Electrical Circuits

Electrical circuits fall into three categories:

- The Series Circuit

- The Parallel Circuit

- The Series Parallel Circuit

# The Series Circuit

In a series circuit there is only one path for current to flow. This path must lead from the supply source, through all the resistance units or circuit components and return to the source. In this unit and other units we will use the “conventional theory of current flow”.

Where two or more resistors, are connected end to end, they are said to be connected in series. Figure 1 shows three resistors connected in series in a circuit. Note that there is only one path through which current can flow.

Figure 1.

The formula used to find the Total Resistance (RT) for the circuit is shown below.

## Formula

| RT = R1 + R2 |  |  |
| --- | --- | --- |

With 3 resistors in series:	RT	=	R1 +  R2  +  R3

If N resistors in series:	RT	=	R1 +  R2  +  . . . . RN

RT is sometimes referred to as the “equivalent resistance” of the circuit.

## Example:

Refer to Figure 2.  What is the total resistance of this circuit?

Figure 2.

Solution:

RT     =    R1    +    R2

RT     =     68   +   82

RT     =        150 (

This value of 150R is the total resistance or equivalent resistance of the series circuit. The total resistance ( RT ) of a series circuit is always  greater than the largest resistor ( 82 R ) in the circuit.

Using Ohm’s Law the current can be calculated.

U		( U	=	12 V )

I	=	___

RT		( RT	=	150 ( )

12

I	=	___

150

I	=	0.08 Amp or 80 mA

Note: In a series circuit there is only one path for current to flow, so 80 mA will flow through the 68 ( and the 82 ( resistor.

Activity:

Apprentices be given two resistors, 100R and 150R

- Use the resistor colour code to check each resistor and note their values.

- Use a multimeter to measure the value of each resistor and check against coded value and tolerance.

- Refer to Figure 3 and calculate the total circuit resistance.

- Connect resistors in series and measure the total resistance with an ohmmeter and compare with the calculated value.

- Calculate the circuit current assuming a supply voltage of 6 Volts DC.

- Connect up the circuit shown in Figure 4, and measure the circuit current.

- Check measured values, against calculated values. List reasons for difference if any.

Figure 3.

Refer to Figure 4

Apprentice to measure the current flowing in the circuit using a multimeter and / or an ammeter.

Figure 4.

# Series Circuit Calculations

## Example

Three resistors of 270R, 330R, and 4k7 values are connected in series. Calculate the equivalent resistance.

RT 	=	   R1    +    R2    +    R3

RT 	= 	270R  + 330R  +  4k7

RT 	= 	 270    +  330    +  4,700

RT 	= 	5,300R  or  5k3

## Refer to Figure 5.

Calculate the total resistance and the total current of the circuit.

Figure 5.

RT	=	R1    +   R2    +   R3

RT	=	12R  +  56R  +  82R

RT	=	12   +    56    +   82

RT	=	150R

U

I	=

RT

100

I	=

150

I	=	0.666 Amperes or 666 mA

## Series Circuit Volt Drop

Figure 6.

Refer to Figure 6. A 40 mA current flows through BOTH the 100R resistor and the 150R resistor. If we wish to calculate the volt drop across each resistor we can apply Ohm’s Law.

Notice that U1 is across R1 and that U2 is across R2

U1 	=	 I ( R1

U1	=	 0·04 ( 100	(40 mA = 0.04 A)

U1	= 	4 Volts.	( There is a volt drop of 4 Volts across the resistor R1 ).

U2	= 	I ( R2

U2	= 	0·04 ( 150

U2	= 	6 Volts.	( There is a volt drop of 6 Volts across the resistor R2 ).

Figure 7.

In a series circuit the sum of all the volt drops is equal to the applied voltage ( UA ).

U1    +    U 2	=	UA

or 	              UA 	=	U 1    +    U 2

or	     10 Volts 	=	4 Volts + 6 Volts.	See Figure 7.

Note:

The larger volt drop is across the larger value resistor.

The smaller volt drop is across the smaller value resistor.

The volt drops are proportional to the values of the resistors.

## Activity

Refer to Figure 8. Apprentices to measure the volt drop across each resistor.

Reminder:

- Are the meter test lead(s) in appropriate jack sockets with correct polarity?

- Is the meter set properly to measure voltage?

- Is the meter set to the correct voltage range?

- Measure the applied voltage.

- Measure the volt drop across each resistor.

- Compare measured voltages with calculated values.

Figure 8.

## Activity

Refer to Figure 9. Apprentices to:

- Connect two lamps in series and measure the volt drop across each lamp.

- Remove one lamp and observe what happens to the other.

Figure 9.

## Question 1

Refer to Figure 10. Find volt drops U 1 and U 2

Figure 10.

Solution:	RT	=	R1    +    R2

RT	=	  6    +    4

RT	=	 10 (

U	       12

I	=        	          =		=	1·2 Amps

RT	       10

Volt drop	U1	=       I ( R1   =   1·2 ( 6	= 	7·2 Volts

Volt drop	U2	=       I ( R2   =   1·2 ( 4	= 	4·8 Volts

## Note:

The sum of all the volt drops in a series circuit is equal to the Applied Voltage.

## Question 2

Refer to Figure 11. Calculate the value of R3

Figure 11.

Solution:  There will be three, volt drops:	U1 across R1

U2 across R2

U3 across R3

I	=	200 mA	=	0.2 Amps

From Ohm’s Law:

Volt drop across R1  ( U1 )	=	I ( R1	=	0·2 ( 12	=	2·4 Volts

Volt drop across R2  ( U2 )	=	I ( R2	=	0·2 ( 15 	=	3·0 Volts

In a series circuit:	UA	= 	U1    +    U2    +    U3

12	=	2·4   +   3·0    +    U3

12	=	5·4   +    U3

U3	=	12    -   5.4

U3	=	6.6 Volts

U3

R3	=

I

6.6

R3	=

0·2

R3	=	33 (

## Summary of the Series Circuit

- In a series circuit the same current flows through all resistors.

IT  =  I1  =  I2  =  I3 = . . . . . IN

- If there is a break in the circuit no current flows in any part of the circuit.

- The total resistance is the sum of all resistors in the series circuit.

RT  =  R1  +  R2  +  R3 + . . . . .  RN

- The sum of all the volt drops in the circuit is equal to the applied voltage.

UA  =  U1  +  U2  +  U3 + . . . . .  UN

- The volt drops are proportional to the values of the resistors in the circuit.

- An example of a series circuit is a Christmas tree lighting set.

## Sample Questions:

- Four resistors of values 5 (, 15 (, 20 ( and 40 (, respectively, are connected in series to a 230 V supply. Calculate the resulting current and the volt drop across each resistor.

- A 6 ( resistor and a resistor of unknown value are connected in series to a 12 V supply, and the volt drop across the 6 ( resistor is 9 V. What is the value of the unknown resistor?

- Calculate the resistance of the element of a soldering iron that takes 0.5 A from 230 V mains when connected by cables having a total resistance of 0.2 (.

# The Parallel Circuit

A circuit with two or more paths through which current can flow, is called a parallel circuit.

Refer to Figure 12. The total current ( IT ) divides itself among the resistors, so that:

IT = I1 + I2 + I3

Figure 12.

From Ohm’s Law

U				U				U

I1  	  =  	(  		I2  	 = 	(   		I3  	 =	(

R1 				R2 				R3

The total resistance RT of a parallel circuit is found by the following formula:

1		 1		 1		 1

(	=	—	+	—	+	—

RT		R1 		R2 		R3

1

The value   —   is called the reciprocal of R.

R

The reciprocal, of a parallel circuit total resistance, is equal to the sum of the reciprocals, of the individual resistors in the circuit.

# Parallel Circuit Calculations

## Example:

Refer to Figure 13.  What is the total resistance of this circuit?

Figure 13.

To find RT

1		1		1

—	=	—	+	—

RT		R1		R2

1		1		 1

—	=	—	+	—

RT		100		150

1		   3 		  2		  5

—	=	——	+	——	=	——

RT		 300		300		300

300

RT  	=	——

5

RT	=	60 Ohms

This value of 60R is the total resistance or equivalent resistance of the parallel circuit. The total resistance ( RT ) of a parallel circuit is always less than the smallest resistor ( 100R ) in the circuit.

Refer again to Figure 13. The total current IT can be calculated in two ways:

## First Method:

Calculate I1 and I2

U

I1 	=	—

R1

10

I1	=	 —		( Voltage same in parallel circuit )

100

I1	=	0.1 Amp

U

I2 	=	—

R2

10

I2	=	 —

150

I2	=	0.0667 Amp   ( to 4 decimal places )

IT	=	I1    +   I2

IT	=	0.1  +  0.0667

IT	=	0.1667 Amps or 166.7 mA

## Second Method:

U

IT	=	—

RT

10

IT	=	—

60

IT	=	0.1667 Amps or 166.7 mA

## Activity 1

Figure 14.

Refer to Figure 14.

Apprentice to complete the following:

- Measure the total resistance at points A and B (  compare with calculated value )

- Connect 6 Volts DC, the Positive to A and Negative to B and measure the supply voltage with a meter.

- Measure the voltage across the 100R.

- Measure the voltage across the 150R.

- Draw a circuit showing an ammeter connected to measure the current I1.

- Measure the current I1 ( break the circuit and connect an ammeter or multi-meter ).

- Measure the current I2 ( as above )

- Measure the total current IT ( as above )

Does  IT 	 =     I1    +    I2 ?

## Activity 2

Figure 15.

Refer to Figure 15.

Apprentices to:

- Connect two lamps in parallel and measure the voltage across each lamp.

- Remove one lamp and observe what happens to the other lamp.

## Example:

For Figure 16 find the total resistance ( RT ) and the total current ( IT )

Figure 16.

Solution:

1		 1		 1		 1

—	=	—	+	—	+	—

RT		R1 		R2 		R3

1		 1		 1		 1

—	=	—	+	—	+	—

RT		10 		12 		15

1		 6		 5		 4

—	=	—	+	—	+	—

RT		60 		60 		60

1		15

—	=	—

RT		60

60

RT	=	—	=	4 (

15

U		   6

IT	=        ——	=	  —	=	1.5 Amps

RT		   4

## Calculate:

I1, I2  and I3

## Example:

Refer to Figure 17. Find I1, I2, I3 and IT

Figure 17.

Solution:

1		 1		 1		 1

—	=	—	+	—	+	—

RT		R1 		R2 		R3

1		 1		 1		 1

—	=	—	+	—	+	—

RT		 4 		 6 		12

1		  3  +   2  +   1

—	=	——————

RT		          12

1		 6

—	=	—

RT		12

12

RT	=	—

6

RT	=	2 (

U

IT	=	 —

RT

6

IT	=	 —

2

IT	=	3 Amps

U		 6

I1	=	—	=	—	=	1.5 Amps

R1 		 4

U		 6

I2	=	—	=	—	=	1.0 Amp

R2 		 6

U		 6

I3  	=	—	=	—	=	0.5 Amp

R3		12

## Check:

IT	=	I1   +	I2   + 	I3

IT	=	1.5   +	1.0   + 	0.5

IT	=	3.0 Amps

## Example:

Refer to Figure 18. Find the supply voltage.

Figure 18.

Solution

1		 1		 1		 1

—	=	—	+	—	+	—

RT		R1 		R2 		R3

1		 1		 1		 1

—	=	—	+	—	+	—

RT		12 		24 		24

1		   2  +   1   +   1

—	=	———————

RT		           24

1		 4

—	=	—

RT		24

24

RT 	=	—

4

RT 	=	6 (

U	=	IT    x   R T

U	=	2  x  6

U	=	12 Volts

## Calculate:

I1, I2  and I3

## Equal Resistors in Parallel

Refer to Figure 19. Where a number of equal value resistors are connected in parallel, their total resistance can be calculated as follows:

Figure 19.

The value of one resistor		10

R T	=	 ——————————	=	—	=	2R5

The number of resistors		 4

## Check:

1		 1		 1		 1		 1

—	=	—	+	—	+	—	+	—

R T		R1 		R2 		R3 		R4

1		 1		 1		 1		 1

—	=	—	+	—	+	—	+	—

R T		10 		10 		10 		10

1		 4

—	=	—

R T		10

10

R T	=	—	=	2R5

4

## Two Unequal Resistors in Parallel

Refer to Figure 20. When two unequal resistors are connected in parallel, their total resistance can be calculated as follows:

Figure 20.

Product	R1 x R2	6 x 4		24

R T	=	———    =	———    =	——	  =    	—	=	2R4

Sum		R1 + R2	6 + 4		10

## Check:

1		 1		 1

—	=	—	+	—

R T		R1 		R2

1		 1		 1

—	=	—	+	—

R T		 4 		 6

1		 3		 2

—	=	—	+	—

R T		12 		12

1		 5

—	=	—

R T		12

12

R T	=	—	=	2R4

5

## Open Circuit Fault

Figure 21.

Position A in Figure 21, has an open circuit fault which results in no current flow through resistor R1. This does not affect the other resistor currents I2 and I3.

I1         = 	    Zero Amps

IT = I2 + I3

## Short Circuit Fault

Figure 22.

Position B in Figure 22 has a short circuit fault across resistor R3. This results in excessive current flow through the short circuit.

I1	=	0  Amps ( under short circuit conditions )

I2 	=	0  Amps ( under short circuit conditions )

I3	=	IT Amps ( under short circuit conditions )

## Warning:

A short-circuit in any resistor in a parallel circuit will result in excessive current flowing in that part of the circuit. This situation may result in the blowing of a fuse or the tripping of an MCB, otherwise the heat produced by that excessive current would cause damage.

## Summary of Parallel Circuits

- There is only one voltage across all resistors in a parallel circuit.

- The total current IT is equal to the sum of all the individual currents.

    - IT	 = 	I1 	+ 	I2 	+ .  .  .  IN

- The total resistance of a parallel circuit is always less than the resistance of the smallest resistor in the circuit.

- The total resistance is calculated by:

1		 1		  1		    1

—	=	—      	+	 —       +  .  .  .    —

RT		R1		 R2		    RN

- ( Applies to all resistors in parallel )

Resistor value			 R

- RT	=	—————— 	=	——

No. in parallel		 	 No.

( Applies to equal values of resistors in parallel )

Product		R1  x  R2

- RT	=	——— 	=	———

Sum			R1  +  R2

( Applies to two unequal, or two equal values of resistors in parallel )

- An open circuit in one resistor in a parallel circuit results in no current flowing in that resistor, but current flow in the other resistors is not affected.

- A short-circuit in any resistor in a parallel circuit will result in excessive current flowing in that part of the circuit. This situation may result in the blowing of a fuse or the tripping of an MCB, otherwise the heat produced by that excessive current would cause damage.

## Example Questions

Q1. Calculate the total resistance of each of the following parallel-connected resistor banks:

- 2 ( and 6 (.

- 4 k(, 8 k( and 8 k(.

- 6 M(, 12 M( and 36 M(.

- 0R2, 0R04 and 0R006.

Q2.Three resistors, having resistances of 4R8, 8R and 12R, are connected in parallel and supplied from a 48V supply.

Calculate:

(a)	The current through each resistor.

(b)	The current taken from the supply.

(c)	The total resistance of the group.

Q3. Three resistors are connected in parallel across a supply of unknown voltage. Resistor 1 is 7R5 and takes a current of 4 A. Resistor 2 is 10R and Resistor 3 is of unknown value but takes a current of 10 A.

Calculate:

- The supply voltage.

- The current through Resistor 2.

- The value of Resistor 3.

Q4. Three parallel-connected busbars have resistances of 0R1, 0R3 and 0R6, respectively, and in the event of a short circuit, they would be connected directly across a 400 V supply.

Calculate:

- The total resistance of the three busbars.

- The total fault current.

- The current through each busbar.

# Kirchoff’s Laws

## Kirchoff’s Current Law

Kirchoff’s Current Law states that the sum of the currents entering a junction must be equal to the sum of the currents leaving the junction. Refer to Figure 23.

Figure 23.

The total current leaving the junction is 6amps.

The total current entering the junction is 4 Amps  +  2 Amps  =  6 Amps.

## Kirchoff’s Voltage Law

Kirchoff’s Voltage Law states that the sum of the series volt drops in a circuit equals the applied voltage. Refer to Figure 24.

Figure 24.

Applied Voltage 	     UA		=	   U1	    +	  U2

10 Volts	=	4 Volts	    +	6 Volts

The sum of the series volt drops equals the applied voltage.

# The Series - Parallel Circuit

In many electrical circuits, some components are connected in series so that the same current flows through them, while others are connected in parallel so that the same voltage is applied across them. Such a circuit is used where it is necessary to provide different values of current and / or voltage from one source of supply.

Series-parallel circuits are solved, by applying the basic rules of series circuits and parallel circuits, to obtain the total resistance.

## Worked Example:

Refer to Figure 25. First find resistance of parallel part of circuit ( RP ):

Figure 25.

Product		R2 x R3	 		2 x 3		 6

Rp	=	———	=         ———	          =	——	=	—	=   1R2

Sum			R2 + R3			2 + 3		 5

The circuit may then be redrawn as shown in Figure 26. Rp is the equivalent resistance of the combination of R2 and R3 in parallel.

Figure 26.

From Figure 26 we can now continue with the calculation.

RT	=	R1	 +	  Rp

RT	=	1.5	 +	 1.2

RT  	=	2.7 (

Now to find the volt drop across each resistor

Figure 27.

Refer to Figure 27. From Ohm’s Law we can now calculate the total circuit current.

UA

IT	=	—

RT

20

IT	=	—	=	7.41 Amps

2.7

Volt drop across R1,	U1	=	IT	x	R1

U1	=	7.41	x	1.5

U1	=	11.11 Volts

Volt drop across RP,	 UP	=	IT	x	RP

UP	=	7.41	x	1.2

UP	=	8.89 Volts

## Check:

UA	=	  U1	  + 	UP

UA	=	11.11 	  + 	8.89

UA	=	20 Volts

Now let us look at the original circuit again.

Figure 28.

Refer to Figure 28. The current through the 2R and 3R resistors will split up in inverse proportion to the value of each resistance. The same volt drop appears across the 2R and the 3R resistors as they are connected in parallel.

UP	=	U2	=	U3

To find the current through each resistor:

U2

I2	=	—

R2

8.89

I2	=	——		= 	4.445 Amps

2

U3

I3	=	—

R3

8.89

I3	=	——		= 	2.96 Amps

3

## Check:

IT	= 	I2	+ 	I3

IT	=	4.445 	+ 	2.963

IT	=	7.41 Amps

Series - Parallel Circuit Layouts

What is the difference in the circuits below?

Figure 29

Figure 30

Figure 31

Figure 32

The resistor network arrangements are the same and the only difference is the layout of the drawings. The total current and the individual resistor currents are all the same. The volt drops across all parallel parts are also the same.

## Example

Figure 33

Refer to Figure 33.

Find	(1)	Total resistance of circuit (RT)

(2)	Total Current (IT)

(3)	The currents		(a)	I2 through R2

(b)	I3 through R3

Solution

Start with Parallel resistors

Product		R2 x R3

Equivalent RP		=	———	=	———

Sum			R2 + R3

100 x 150

RP		=	————	=	60R

100 + 150

Figure 34

RT		=	R1	+	RP

RT		=	47	+ 	60

RT		=	107R

UA

IT 		=	—

RT

6

I T		=	 —

107

I T		=	0.056 Amps or 56 mA

Volt drop across parallel resistor ( UP ):

UP	=	IT	x	Rp

UP	=	0.056	x	60

UP	=	3.36 Volts

Current I2, through R2:

UP

I2 	=	—

R2

3.36

I2	=	——

100

I2 	=	0.0336 Amps or 33.6 mA

Current I3, through R3:

UP

I3 	=	—

R3

3.36

I3	=	——

150

I3 	=	0.0224 Amp or 22.4 mA

## Activity

Apprentices to set up the circuit shown in Figure 33 and:

- Measure the resistance of the parallel resistors.

- Measure the total resistance of the circuit.

- Connect a 6 Volt supply.

- Measure the voltage across the parallel resistors.

- Measure the currents IT, I2 and I3.

- Compare the measured values with calculations.

## Activity

Refer to Figure 35. Apprentices to:

Connect three identical lamps as shown in Figure 35.

Figure 35.

- What will happen with supply connected?

Observe Lamp 1, Lamp 2 and Lamp 3.

- What will happen when Lamp 1 is removed?

- With Lamp 1 back in position what will happen when Lamp 2 is removed?

- With Lamp 2 back in position what will happen when Lamp 3 is removed?

- Which Lamp(s) are in series with each other?

- Which Lamp(s) are in parallel.

## Example

Branch 1		Branch 2

Figure 36.

Refer to Figure 36. Find:	1.	Total resistance of circuit ( RT )

2.	Total Current ( IT )

3.	Voltage drop across each resistor

4.	Current flow through each resistor.

## Solution

Parallel Branch 1 Equivalent Resistance:	RP1

R1		 4

RP1	=	—	=	—	=	2R

No		 2

Parallel Branch 2 Equivalent Resistance:	R P2

1		 1		 1		 1

—	=	—	+	—	+	—

R P2 		R4 		R5 		R6

1		 1		 1		 1

—	=	—	+	—	+	—

R P2 		 8 		10 		40

1		5  +  4  +  1

—	=	—————

RP2		        40

1		10

—	=	—

RP2		40

40

R P2 	=	—	=	4R

10

RT 		=	R1 	+	R P1 	+	R P2

RT		=	6	+	2	+	4

RT 		=	12R

UA		24

IT		=	—	=	—	=	2 Amps

RT		12

Figure 36 may now be redrawn as in Figure 37 and the circuit volt drops can be calculated.

Figure 37.

Volt drop across R1:

U1	=	IT	x	R1

U1	=	2	x	6	=	12 Volts

Volt drop across RP1:

UP1	=	IT	x	RP1

UP1	=	2	x	2	=	4 Volts

Volt drop across RP2:

UP2	=	IT	x	RP2

UP2	=	2	x	4	=	8 Volts

Original circuit

Figure 38.

To find the current through each resistor:

I1 through R1	=	2 Amps	( Also total current IT )

UP1		  4

I2 through R2	=	—	=	——	=	1 Amps

R2		  4

I3 through R3 is equal to I2 as they are equal resistors in parallel.

UP2		  8

I4 through R4	=	—	=	——	=	1 Amps

R4		  8

UP2		  8

I5 through R5	=	—	=	——	=	0.8 Amps

R5		 10

UP2		  8

I6 through R6	=	—	=	——	=	0.2 Amps

R6		 40

## Example Questions:

- A 2R resistor is connected in series with a parallel bank consisting of a 6R and two 12R resistors. The supply voltage is 10 V.

Calculate:

- The total resistance of the circuit.

- The total current.

- The current through each resistor.

- The voltage drop across each resistor.

- A 2.5R resistor is connected in series with a parallel bank, consisting of 7R, 14R, and 14R respectively. The current flow through the 2R5 resistor is 2 A.

Calculate:

- The supply voltage.

- The volt drop across the 7R resistor.

- A 3R resistor is connected in series with two banks of parallel connected resistors. Bank A consists of a 20R and a 30R resistor, while bank B consists of three 15R resistors. The supply voltage is 60 V.

Calculate:

(a) The total resistance of the circuit.

(b) The total current.

(c) The current through each resistor.

(d) The voltage drop across each resistor.

- Three banks of resistors are connected in series across a 230 V supply. Bank A consists of three resistors R1, R2 and R3, each of resistance 60R, connected in parallel. Bank B has two resistors, R4 of resistance 40R and R5 of resistance 120R connected in parallel. Bank C has three resistors, R6 of resistance 50R, R7 of resistance 100R and R8 of resistance 300R connected in parallel.

Calculate:

- The total resistance of the circuit.

- The total current

- The current through each resistor.

(d) The voltage drop across each resistor.

# The Loading Effect of a Voltmeter

## Measuring Voltage in a Low Resistance Circuit

Refer to Figure 39.

This series circuit was covered earlier. Note the voltdrops across R1 and R2

Figure 39.

Refer to Figure 39.

An analogue voltmeter is shown connected across R1. This changes the resistance of the circuit.

Let us examine the “loading effect” of using this voltmeter to measure the voltage across the 100R resistor.

Assume the meter has a resistance of 20,000R.

Figure 40.

Total resistance of parallel branch ( 100R resistor and the meter resistance of 20,000R ):

R1    x    RM

RP	=	—————

R1    +    RM

20,000	  x  100		2,000,000

RP	=	——————	=	————

20,100			  20,100

RP	=	99.5 (

Total Resistance of Circuit

RT	=	RP	+	R2

RT	=	99.5	+	150

RT	=	249R5

UA

I	=	—

RT

10

I	=	——

249.5

I	=	40.1 mA	=	0.0401 Amps

The new volt drop across the 100R is:

U1	=	IT	x	RP

U1	=	0.0401 x  99.5

U1	=	3.98 Volts

When an analogue meter is used to measure voltage across a low value resistor, its “loading effect” on the circuit is minimal and can be ignored in most situations.

## Measuring Voltage in a High Resistance Circuit

Refer to Figure 41.

Find the current through and the volt drop across (a) the 30k resistor and (b) the 20k resistor.

Figure 41.

Solution:	RT	=	R1	+	R2

RT	=	20,000 + 30,000

RT	=	50,000R

UA		  100

I	=	—	=	———	=	0.002 Amps

RT		50,000

Volt Drop across 20k resistor

U1	=	I	x	R1

U1	=	0.002   x   20,000

U1	=	40 Volts

Volt Drop across 30k resistor

U2	=	I	x	R2

U2	=	0.002   x   30,000

U2	=	60 Volts

Refer to Figure 42.

An analogue voltmeter is shown connected across R1. This changes the resistance of the circuit.

Let us examine the “loading effect” of using this voltmeter to measure the voltage across the 20,000R resistor.

Assume the meter has a resistance of 20,000R.

Figure 42.

1		1		1

—	=	—	+	—

RP		RM		R2

1		    1			    1			    2

—	=	———	+	———	=	———

RP		20,000			20,000			20,000

1		     1

—	=	———

RP		10,000

RP	=	10,000R

RT	=	R1	+	RP

RT	=	30,000 +  10,000

RT	=	40,000R

UA		   100

IT	=	 —	=	———

RT		 40,000

IT	=	0.0025 Amps

Volt Drop across parallel branch:

U1	=	IT	 x 	Rp

U1	=	0.0025  x   10,000

U1	=	25 Volts

Volt Drop across30k resistor:

U2	=	IT	x	R2

U2	=	0.0025 x  30,000

U2	=	75 Volts

Summary of measurements when using an analogue meter in a high resistance circuit.

|  | Total Current | Voltage across R1 | Voltage across R2 |
| --- | --- | --- | --- |
| Without Meter | 0.002 Amps | 40 Volts | 60 Volts |
| With Meter | 0.0025 Amps | 25 Volts | 75 Volts |
| % Change | 25% Increase | 37.5% Decrease | 25% Increase |

## Conclusions

- A wrong voltage is recorded.

- There is a “loading effect” on the circuit.

The loading effect is minimised, by using a voltmeter having a resistance much greater than the resistor across which the voltage is being measured. It will be noticed that in such a case, there is a very slight effect on the circuit, but in the high resistance circuit, connecting the voltmeter had a much greater effect on the circuit.

# Cells and Batteries

## Cells

A cell generates electrical energy from an internal chemical reaction. It consists of two conducting materials called electrodes, which are immersed in a liquid or paste called an electrolyte. The internal chemical reaction in a cell results in a separation of electric charges in the form of ions and free electrons. As a result, the two electrodes have a difference of potential between them, which provides an electro-motive-force ( EMF ).

A standard cell has an open circuit voltage of 1.5 Volts. Other special cells are manufactured having voltages of 1.2 Volts, 2 Volts and 3 Volts. It is most important that a cell of the correct voltage is selected.

## Primary Cells

Cells, which must be replaced when the chemical reaction is exhausted, are collectively called Primary Cells ( Dry Cell ).

## Secondary Cells

A cell, which can be repeatedly recharged is called a Secondary Cell, the most familiar of which is the lead-acid type used in motor vehicles.

## Batteries

A battery is simply a group of two or more similar cells connected together.

A typical car battery is shown below.

Figure 43.

## Cells in Series

When similar cells are connected in series, the total output voltage can be calculated by adding the individual cell voltages. Three 1.5 Volt cells connected in series will give an open circuit voltage of:

1.5 V + 1.5 V + 1.5 V	  =	4.5 V

Figure 44.

Terminal Voltage	UT	=	U1   +   U2   +   U3

The maximum current that can be supplied to a load will be the maximum current of any one of the cells as they are connected in series. If a battery has a “weak” cell, that cell will determine the maximum current flow.

IT	=	I1   =   I2   =   I3

Cells are connected in series to achieve a higher voltage. It is important that correct polarity is observed when installing cells or batteries.

## Cells in Parallel

When similar cells are connected in parallel, the total output voltage will be the open circuit voltage of any individual cell.

When three 1.5 Volt cells are connected in parallel as shown in Figure 45, the output voltage will be the open circuit voltage of any one of the three cells.

Figure 45.

Voltage of one cell 			=	1.5 Volts

Voltage of three cells in parallel 	=	1.5 Volts

UT	=	U1   =   U2   =   U3

The maximum voltage that can be applied to a load will be the maximum voltage of any one of the cells as they are connected in parallel. If a battery has a “weak” cell, that cell voltage will be lower than the voltage of the other cells.

The maximum output current will be the sum of the individual cell currents.

IT	=	I1    +    I2    +    I3

Cells are connected in parallel to achieve a higher output current.

## Electromotive Force ( EMF or E )

The EMF of a cell or battery is measured in volts. It is the maximum force available from a cell or battery to produce current flow in a circuit.

## Internal Resistance

The amount of current a cell can deliver depends on a number of factors. Basically the bigger a cell is the more current it can deliver. There is always an internal opposition to the amount of current a cell can deliver and this is called “internal resistance”. ( Symbol  r )

The internal resistance is inside the cell, but is usually represented as in Figure 46.

Figure 46.

## Terminal Voltage of a Cell

The Terminal Voltage ( U ) of a cell is measured in volts.

Figure 47

Terminal Voltage	U	=	EMF	–	Volt Drop

Terminal Voltage	U	=	E	–	I  x  r

The greater the current a cell delivers, the greater the volt drop ( I x R ) and the Terminal Voltage ( U ) of the cell will be reduced accordingly.

## The effect of Internal Resistance

The EMF of a cell is measured at 1.5 Volts. When connected to a load of 400 mA its terminal voltage is measured at 1.3 Volts. The internal resistance ( r ) can now be calculated.

Volt Drop across r	=	EMF		–	 Terminal Voltage

=	1.5		–	1.3

=	0.2 Volt

The Internal Resistance is equal to the Volt Drop across the Internal Resistance divided by the Load Current.

Volt Drop		 0.2

r	=	—————	   =	——	  =	0.5R or 0R5

Load Current		 0.4

#### Figure 48.

## Internal Resistance of Cells connected in Series:

#### Figure 49.

Terminal voltage of 3 cells each 1.5 V connected in series is:

1.5 V  +  1.5 V  +  1.5 V  =  4.5 Volts

When cells are connected in series the internal resistances are also in series. The total internal resistance of the battery is calculated as follows:

rT = r1 + r2 + r3

## Internal Resistance of Cells connected in Parallel:

Figure 50.

When cells are connected in parallel the internal resistances of the cells are also in parallel. The total internal resistance of the battery is calculated as follows:

1 1 1 1 — = — + — + — rT r1 r2 r3

In a parallel circuit the total resistance is always less than the smallest resistor in the circuit.

When cells are connected in parallel the internal resistance is reduced, which allows the cells supply more current.

## Battery and Cell Usage

Batteries and cells are used in the automobile industry, fire / security / intruder alarm panel systems, emergency / exit lighting systems, multi-meters, calculators, cameras, clocks, watches, computers, lamps, torches etc.

## Battery and Cell Warning (

- Manufacturer’s instructions should be strictly adhered to.

- Exercise care with disposal of batteries ( do not dispose in fire ).

- Observe polarity when installing.

- Do not short-circuit a battery ( some can deliver hundreds of amps when shorted and will explode ).

- The handling of some batteries requires protective clothing suitable for the purpose.

## Activity

Connect cells in series and in parallel and measure the output voltages.

# Resistance of Cable Conductors

One of the more important tasks the electrician has to perform is the selection of a suitable cable for a particular job. There are several points to be considered before the final selection is made. In many cases, one may find several different types of cable suitable for a given application. Most cables encountered in electrical installation work comprise an outer sheath for mechanical protection, inner insulation for electrical isolation, and the conductor itself, which carries the circuit current.

See Figure 51.

Figure 51.

## Conductors

The conductive part of a cable is normally copper, but aluminium may be used for reasons of lightness or economy. The current carrying capacity of a cable is largely determined by the cross-sectional area ( CSA ) of its conductors. Cables are available in sizes ranging from 1mm2 to 630 mm2 ( copper ) or 16 mm2 to 1,000 mm2 ( aluminium ).

( d2

Cross sectional area      a      =            ——		or	( r2

4

Cables are sized by the cross sectional area of their conductors. For example a 2.5 mm2 cable is generally used for wiring sockets in houses. This 2.5 mm2 refers to the cross sectional area of the cable conductors. The diameter of the conductor can be calculated as follows:

( d2 			  (  a 	= Cross-Sectional Area

CSA	=	((			  (  (  	=  3.14

4			  (  d   	=  diameter of conductor

CSA	x	4	=	( d2

CSA x 4		2.5 x 4

d2	=	(((	=	(((		=	3.18

(			  3.14

_____

d	=	(  3.18

d	=	1.78 mm. ( A 2.5mm2 CSA conductor has a diameter of 1.78 mm ).

## Factors affecting the Resistance of a Conductor

The following three factors determine the resistance of a conductor at a constant temperature:

- Resistivity of conductor material.

- Length of conductor.

- Cross sectional area of conductor.

## Resistivity

The resistance between opposite faces of a cube of material is called resistivity or specific resistance. It is measured in terms of the resistance of a cubic metre of the material. This resistance will depend on the type of material involved. A material which has a low resistance is a good conductor ( high conductivity ). A material, which has a high resistance, is a poor conductor ( low conductivity ). Copper has a lower resistance than aluminium for example.

The resistivity of a material is defined as the resistance measured between the opposite faces of a unit cube of the material.

Symbol		=	Greek letter (  ( pronounced Rho )

When we want to compare current carrying properties of conductor materials, we must compare equal quantities. The resistance between 2 opposite faces of the cubes will give us the resistivity of the material.

See Figure 52.

Figure 52.

The values measured will be very low:

Copper: 	0.0172 ((m. ( micro-ohms per cubic metre )

Aluminium:	0.0285 ((m

2

The cube of copper measures approximately 	 (   of  1 Micro ohm

100

3

The cube of aluminium measures approximately   (   of  1 Micro ohm

100

Since copper has the lower resistivity we say it is a better conductor than aluminium.

The composition of a material determines its resistivity value.

Resistance ( R ) is proportional to Resistivity ( ( )

R ( (

## Resistivity of Common Conductors Materials

The table below shows clearly why copper is so widely used as a conductor material. It is second only to silver in its resistivity value. Aluminium is more resistive than copper, but it is lighter and cheaper. This has led to its increasing use as a conductor material.

Material				       Resistivity:

((m		((cm		((mm

Silver				0.0163	  1.63		  16.3

Copper (annealed)		0.0172	  1.72		  17.2

Copper (hard drawn)	0.0178	  1.78		  17.8

Aluminium			0.0285	  2.85		  28.5

Brass				0.06-0.09	  6-9		  60-90

Iron				0.100		10.0		  100

Tin				0.114		11.4		  114

Lead				0.219		21.9		  219

Mercury			0.958		95.8		  958

## Length of Conductor

The resistance of a conductor depends on its length. If we increase the length of conductor leaving the face area the same, its resistance will increase.

See Figure 53.

Figure 54.

If the length of conductor is doubled, its resistance is doubled. Consider this to be the same as two equal resistors in series. The resistance of a conductor is directly proportional to its length. If the length of a conductor is halved its resistance is halved.

R ( l

## Cross-Sectional Area of a Conductor

The resistance of a conductor depends on its cross-sectional area. If we increase the CSA of conductor leaving the length the same, its resistance will decrease.

See Figure 55.

Figure 55.

If the CSA of the conductor is doubled, its resistance is halved. Consider this to be the same as two equal resistors in parallel. The resistance of a conductor is inversely proportional to its cross-sectional area.

1 R ( a

The resistance of a conductor is directly proportional to its length and resistivity, and inversely proportional to its cross sectional area.

( l

R	=	(

a

Where:		R	=	Conductor resistance

(	=	Resistivity

l	=	Length of conductor

a	=	Cross-sectional area of conductor

Note:		R and ( must be in the same units

(, l and a must be in the same units

## Transposition of Formulae:

( l

R	=	 (	( to find Resistance )

a

cross-multiplying	Ra	=	( l

( l

a	=	(	( to find area )

R

Ra

(	=	(	( to find resistivity )

l

Ra

l	=	(	( to find length )

(

## Example 1:

Calculate the resistance of 500 metres of 10 mm2 annealed copper conductor if ( for the material is 0.0172 ((m.

Solution

( l

R	=	 (	      (, l and a must be expressed in the same units.				 	 a

l 	=	 500 metres	=	500	 x	103 mm

a 	=	 10 mm2

(	=	0.0172 ((m    =   0.0172  x  10-6  (m   =  0.0172  x  10-6  x  103 (mm

( l

R	=	 (

a

0.0172  x  10-6  x  103  x  500  x  103

R	=	((((((((((((((

10

0.0172  x  500

R	=	((((((

10

1.72  x  5

R	=	(((

10

8.60

R	=	((

10

##### R	=	0.86 (

## Example 2:

A roll of 1.5 mm2 PVC cable has a resistance of 0.6 (. If the resistivity of the material is 0.0172 ((m, calculate the length of the cable.

Solution

( l

R	=	 (

a

Ra

l	=	(

(

R	=	0.6 (.

(	=	0.0172 ((m    =   0.0172  x  10-6 (m   =   0.0172  x  10-6  x  103 (mm

a	=	1.5 mm2

Ra

l	=	(

(

0.6  x  1.5

l	=	((((((((

0.0172  x  10-6 x  103

0.9 x 103

l	=	((((

0.0172

l	=	52.33 x 103 mm

l	=	52.33 metres

## Example 3:

A roll of cable is 40 metres long, its conductor diameter is 1.78 mm and its resistivity is 0.0172 ((m. Calculate the resistance of the cable.

Solution

( d2

a	=	((

4

3.14  x  1.78  x  1.78

a	=	((((((((

4

a	=	2.488 mm2

a 	=	2.5 mm2  ( rounded to one decimal place )

( l

R	=	 (

A

(	= 	0.0172 ((m	   = 	0.0172  x  10-6 (m

l 	=	 40 metres

a 	=	2.5 mm2 	=	2.5  x   10-6  m2

0.0172  x  10-6  x  40

R	=	((((((((

2.5  x  10-6

0.688

R	=	((

2.5

R	=	0.275 (

## Temperature Coefficient of Resistance

The temperature coefficient of resistance of a material is, the change in resistance of the material, resulting from a change in temperature of one degree centigrade.

- The resistance of most conductor materials vary with temperature change.

- The resistance of most conductor materials ( including copper ), increase as their temperature increases and are said to have a positive temperature coefficient ( P.T.C.) of resistance.

- The resistance of carbon decreases as its temperature increases and it is said to have a negative temperature coefficient ( N.T.C.) of resistance.

- Most insulator materials have a negative temperature coefficient of resistance.

- Symbol for temperature coefficient of resistance is ( ( pronounced alpha ).